Checklist for Quality Manual (In accordance to ISO 13485)

- Purpose and Scope:

This checklist describes the quality manual established by ……………… (كتابة اسم المنشأة) ……

| Activity of the establishment (نشاط المنشأة) | Importation / Distribution Authorized Representative Other …………………… |
| --- | --- |
| Excluded from the scope of the quality management system (QMS), and provide justification | (توضيح ما هو خارج نطاق نظام إدارة الجودة مع توضيح المبرر) |

- Documented Procedures

| ISO 13485: 2016 (Clause / Sub-Clause) | Documented Procedures (الإجراءات الموثقة) | Clause Applicable? (هل ينطبق البند) |  |  | Interaction between the processes of the quality management system (وصف التفاعل بين عمليات نظام إدارة الجودة) |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | Not Applicable (N.A) | Justification (In case of selecting N.A) |  |
| 4.1.6 | Procedures for the validation of the software applications used in the quality management system |  |  |  |  |
| 4.2.4 | Procedure for document control |  |  |  |  |
| 4.2.5 | Procedure for record control |  |  |  |  |
| 5.6.1 | Procedure for management review |  |  |  |  |
| 6.2 | Procedure for establishing and recording competence, training and awareness |  |  |  |  |
| 6.4.1 | Procedure to monitor and control the work environment |  |  |  |  |
| 7.4. I | Procedure for purchasing |  |  |  |  |
| 7.5.4 | Procedure for servicing activities of medical devices |  |  |  |  |
| 7.5.8 | Procedure for product identification |  |  |  |  |
| 7.5.9.1 | Procedure for traceability |  |  |  |  |
| 7.5.11 | Procedure for preserving the conformity of product |  |  |  |  |
| 7.6 | Procedure for monitoring and measuring equipment. |  |  |  |  |
| 8.2.1 | Procedure for customer feedback gathering |  |  |  |  |
| 8.2.2 | Procedure for complaint handling |  |  |  |  |
| 8.2.3 | Reporting to the SFDA National Center for Medical Devices Reporting (NCMDR) |  |  |  |  |
| 8.2.4 | Procedure for internal audit |  |  |  |  |
| 8.3.1 | Procedure for control of nonconforming product |  |  |  |  |
| 8.3.3 | Procedure for issuing safety alerts |  |  |  |  |
| 8.4 | Procedure for analysis of data |  |  |  |  |
| 8.5.2 | Procedure for corrective actions |  |  |  |  |
| 8.5.3 | Procedure for preventive actions |  |  |  |  |

- Attestation

- We pledge that all data provided in this checklist are correct.

- We undertake to provide Quality Manual which comply with the Saudi Standard SFDA.MD/GSO ISO 13485) or its equivalent /Clause (4.2.2) during the inspection visit.

Name: …………………………….

Signature: …………………………

Job Title: …………………………..

Date: ………………………………